## 📊 Executive Dashboard
WASH IN SCHOOLS — FIELD ASSESSMENT REPORT
Data Collection: February 2025 ¦ 39 Schools ¦ Pune District
Total Schools Assessed | Total Students | Avg WASH Score | Schools with Purified Water | Schools with Incinerator
39 | 6905 | 61.1/100 | 17 | 10
WASH PERFORMANCE GRADE DISTRIBUTION
Excellent | Good | Fair | Poor
1 | 23 | 14 | 1
2.6% | 59.0% | 35.9% | 2.6%
KEY FINDINGS
💧 Water | 17 of 39 schools (41%) provide filtered/RO/UV water. 9 schools (23%) do NOT test drinking water quality.
🚻 Sanitation | Only 16 of 39 schools (41%) have separate staff toilets. 10 schools (26%) have functional incinerators for sanitary waste.
🧼 Hygiene | 37 of 39 schools (95%) report children wash hands before MDM. Yet 12 schools (31%) lack soap after toilet use.
🏫 O&M | 100% of schools clean classrooms daily. Only 15 of 39 schools (38%) clean toilets daily.
♻ Waste | 79.5% of schools burn solid waste — a critical public health and environmental concern. 82% have no liquid waste management system.
⭐ Top Performer | Best school: Swami Vivekanand Vidyalay (Asde) — WASH Score: 92/100

## 🗂 Cleaned Data
WASH IN SCHOOLS — CLEANED DATASET (39 Schools, Feb 2025)
# | School Name | Address | Designation | Category | Shift | Boys | Girls | Special | Total Students | Female Staff | Male Staff | Drinking Water Source | Water Quantity | Water Storage | Water Quality Tested | Rainwater Harvesting | Separate Toilets | Toilets (Boys) | Toilets (Girls) | Urinals (Boys) | Urinals (Girls) | CSN Toilets | Staff Toilets | Sanitary Dustbin | Incinerator | Handwash After Toilet | Soap After Toilet | Children Wash Hands | Premises Clean | Toilet Cleaning Freq | Bal Sansad | WASH Score (/100) | WASH Grade
1 | jilha parishad school | khubawali | principal | 1st–4th | a | 4 | 3 | 0 | 7 | 1 | 1 | b |  | a | b | a | c | 1 | 1 | 0 | 1 | c | b |  | a | b | c | b | b | d | b | 53 | Fair
2 | mamasaheb mohol vidyalay | kule | principal | 5th–10th | a | 65 | 54 | 0 | 119 | 2 | 5 | a |  | c | a | a | c | 1 | 1 | 4 | 4 | c | b | a | a | c | c | b | b (water logging in school ground) | d | b | 56 | Fair
3 | jilha parishad school | kule | teacher | 1st–4th | a | 20 | 20 | 0 | 40 | 2 | 0 | d | a | b | b | a | c | 1 | 2 | 1 | 2 | c | a | b | a | c | c | b | b | c | b | 71 | Good
4 | swami vivekanand vidyalay | asde | principal | 5th–10th | a | 77 | 65 | 5 | 142 | 3 | 6 | b,c(tab),d | a | b,c | c | b | c | 2 | 4 | 4 | 0 | a | a | b | b | c | c | b | b | d | a | 92 | Excellent
5 | mamasaheb mohol vidyalay | khamboli | principal | 5th–10th | a | 70 | 88 | 0 | 158 | 2 | 6 | d | b | b | a | a | c | 1 | 1 | 3 | 3 | c | a | a | a | a | a | b | b | b | b | 48 | Fair
6 | jilha parishad school | shileshwar | teacher | 1st–4th | a | 1 | 3 | 0 | 4 | 1 | 0 | c | a | b | a | a | c | 1 | 1 | 1 | 1 | c | b |  | a | c | c | b | b | b | b | 61 | Good
7 | jilha parishad school | darwali | teacher | 1st–4th | a | 6 | 10 | 0 | 13 | 1 | 1 | a |  | a |  | a (sometimes) | c | 1 | 1 | 1 | 1 | c | a | a | a | b(basin is not there but tab is available) | a | b | b | b | b | 42 | Fair
8 | shree. bhairvnath vidyalay, rihe | rihe | principal | 5th–10th | a | 212 | 179 | 0 | 391 | 1 | 6 | d,e | a | b | b | a | c | 1 | 1 | 6 | 6 | b | a | a | a | b | c | b | b | b | b | 67 | Good
9 | jilha parishad school | rasalwadi | teacher | 1st–4th | a | 5 | 6 | 0 | 11 | 1 | 0 | c | a | e,d- filter | b | a | c | 1 | 1 | 2 | 4 | c | b |  | a | a | a | b | b | b | b | 46 | Fair
10 | jilha parishad school | khechare | headmaster | 8th–10th | a | 48 | 43 | 0 | 91 | 0 | 4 | c | a | b | b | a | c | 2 | 2 | 10 | 10 | c | b | a | b | b | a | b | b | b | b | 58 | Fair
11 | jilha parishad school | hinjewadi | headmaster | 1st–7th | b | 1023 | 923 | 8 | 1946 | 37 | 10 | d, e | b | b | b | b | c | 6 | 2 | 6 | 2 | b | b | a | a | a | a | b(only use water) | b | d | b | 59 | Fair
12 | jilha parishad school | mahalunge | headmaster | 1st–7th | b | 476 | 439 | 11 | 915 | 15 | 8 | e | b | b | b | a | c | 2 | 0 | 7 | 0 | a | b | a | b | b | a | b | a | d | b | 71 | Good
13 | jilha parishad school | paud | headmaster | 1st–4th | a | 104 | 77 | 0 | 181 | 7 | 1 | c | a | a,d- students filled water bottle regularly | a | a | c | 2 | 2 | 1 | 1 | c | b |  | a | b | c | b | a (water linking at school area) | d | b | 51 | Fair
14 | jilha parishad school | bhalgudi | headmaster | 1st–4th | a | 1 | 5 | 0 | 6 | 0 | 1 | b |  | a |  | b | d | 1 | 0 | 0 | 0 | c | b | b | a | a | a | b | b | a - toilet not in used | b | 44 | Fair
15 | jilha parishad school | katarkhadk | headmaster | 1st–7th | a | 44 | 39 | 1 | 83 | 3 | 2 | d | a | d- filter tab | a | a | c | 3 | 3 | 4 | 4 | c | a | a | b | c | c | b | a | d | b | 71 | Good
16 | jihad paris had school | bhare | headmaster | 1st–7th | a | 79 | 73 | 3 | 152 | 7 | 0 | d | b | a | b | a | c | 1 | 2 | 3 | 2 | a | b | a | b(but not in use) | c | c | b | a | d | b | 73 | Good
17 | jilha parishad school | hadshi | teacher | 1st–4th | a | 27 | 17 | 1 | 44 | 0 | 2 | c,d | a | b,d- jar | c | a | a |  |  |  |  | c | b |  | a | a | a | b | b | a | a | 42 | Fair
18 | new english school | kolvan | supervisor | 5th–10th | a | 218 | 200 | 0 | 418 | 3 | 11 | d | a | b | c | a | c | 1 | 1 | 8 | 10 | c | b | b | a | c | c | b | a | d | b | 71 | Good
19 | jilha parishad school | nanegoan | teacher | 1st–4th | a | 9 | 13 | 0 | 22 | 2 | 0 | a |  | c | c | a | c | 1 | 1 | 0 | 0 | c | b | b | a | b | c | b | b | d | b | 66 | Good
20 | jilha parishad school | karmoli | headmaster | 1st–4th | a | 13 | 13 | 0 | 26 | 1 | 1 | c | a | b | b | a | d | 1 | 1 | 1 | 1 | c | b | a | a | b | c | b | b | d | b | 63 | Good
21 | jilha parishad school | kalamshet | headmaster | 1st–4th | a | 3 | 8 | 0 | 11 | 1 | 1 | c,d | a | b | c | a | a |  |  | 3 | 3 | c | a | a | a | b | c | b | b | d | a | 68 | Good
22 | jilha parishad school | shelkewadi, gotavade | headmaster | 1st–4th | a | 18 | 18 | 3 | 36 | 1 | 1 | d( no filter) | b | b | b | a | c | 1 | 1 | 2 | 1 | a | b | a | a | b | c | b | b | b | b | 72 | Good
23 | jilha parishad school | gavdewadi, lavale | teacher | 1st–4th | a | 34 | 28 | 0 | 62 | 3 | 0 | b |  | a |  | a | c | 2 | 2 | 3 | 3 | a | a |  | a | c | c | b | a | d | b | 60 | Good
24 | jilha parishad school | walen | teacher | 1st–7th | a | 10 | 22 | 0 | 32 | 1 | 1 | b |  | b |  | a | a (no toilet) |  |  |  |  | c | b | a | a | c | c | b | a | c | b | 51 | Fair
25 | jilha parishad school | mugavade | teacher | 1st–4th | a | 10 | 16 | 0 | 26 | 2 | 0 | b |  | a | b | a | d | 1 | 1 | 2 | 2 | c | b |  | a | a | a | b | b | d | b | 49 | Fair
26 | jilha parishad school | kondhavale | headmaster | 1st–7th | a | 16 | 22 | 2 | 38 | 4 | 2 | b,c,d | a | b | b | a | c | 1 | 3 | 3 | 0 | b | a | b | a | b | c | b | b | d | b | 71 | Good
27 | jilha parishad school | aandeshe | teacher | 1st–7th | a | 15 | 18 | 0 | 33 | 1 | 3 | c | a | d- tab | a | a | c | 1 | 1 | 3 | 3 | c | a | b | a | c | c | b | b | c | b | 67 | Good
28 | mamasaheb mohol vidyalay | mutha | headmaster | 5th–10th | a | 26 | 27 | 0 | 53 | 1 | 2 | b,c,d | a | b,d- water filter | a | a | c | 1 | 1 | 5 | 5 | c | b | a | a | b | b | a | b | b | a | 49 | Fair
29 | vidya vikas mandir | aandgoan | teacher | 5th–10th | a | 104 | 97 | 0 | 201 | 2 | 3 | c,e | b | b | b | b | c | 5 | 9 | 13 | 0 | c | b | b | b (but not in working condition) | c | c | b (some time they wash only water) | a | b | b | 78 | Good
30 | mamasaheb mohol vidyalay | kolavade | teacher | 5th–10th | a | 26 | 10 | 0 | 36 | 1 | 3 | c,e | b | b | c | a | c | 3 | 3 | 3 | 0 | c | a | a | b( there is machine but they don’t need) | c | c | b | a | c | b | 77 | Good
31 | senapati bapat madhymik vidyalay | maale | headmaster | 5th–10th | a | 171 | 138 | 0 | 390 | 2 | 5 | c | b | b | a | a | c | 8 | 6 | 8 | 0 | c | a | b | a | b | a | b | b | c | b | 63 | Good
32 | mamasaheb mohol vidyalay | shere | teacher | 5th–10th | a | 58 | 39 | 0 | 97 | 2 | 4 | c | b- water presher is very slow | b | b | a | c | 2 | 2 | 10 | 10 | c | a | b | b | b (not in working condition) | a | b | a | b | b | 60 | Good
33 | baburao rairikar vidyalay | uravade | teacher | 5th–12th | a | 20 | 190 |  | 410 | 9 | 5 | c,d | b | b | b | a | c | 8 | 9 | 8 | 0 | b | a | b | b | c | c | b | a | a- (very rarely doing cleaning process) | b | 71 | Good
34 | jilha parishad school | dakhane | teacher | 1st–4th | a | 4 | 6 | 10 | 20 | 1 | 0 | b |  | a |  | a | d | 1 | 1 | 1 | 1 | c | b | a | a | c | c | b | b | c | b | 43 | Fair
35 | tukai madhymik vidyalay | nere | teacher | 5th–10th | b | 86 | 93 | 0 | 179 | 5 | 4 | b |  | a |  | a | b |  |  |  |  | c | a | b | a | a | a | b | a | c | b | 33 | Poor
36 | jilha parishad school | jambe | teacher | 1st–7th | a | 133 | 132 | 0 | 265 | 2 | 3 | d | b | a | a | a | c | 1 | 1 | 3 | 3 | c | a | b | a | c | c | b | b | c | b | 69 | Good
37 | jilha parishad school | savargaon | teacher | 1st–4th | a | 8 | 6 | 0 | 14 | 2 | 0 | c | a | a | b | a | d | 1 | 1 | 2 | 2 | c | b | a | a | b | c | b | b | c | b | 60 | Good
38 | jilha parishad school | chale | headmaster | 1st–7th | a | 39 | 35 | 0 | 74 | 0 | 0 | c,d | a | b | b | a | c | 2 | 2 | 3 | 3 | c | b | a | b | b | c | b | b | c | b | 71 | Good
39 | jilha parishad school | bhugaon | headmaster | 5th–10th | a | 83 | 76 | 0 | 159 | 2 | 3 | c,d | a | b | b | a | c | 3 | 3 | 3 | 3 | b | b | b | a | c | c | a | b | c | b | 67 | Good

## ⚠ Validation Log
DATA VALIDATION & QUALITY ISSUES LOG
Row # | School Name | Column / Field | Issue Description | Action Taken
4 | swami vivekanand vidyalay | Students_Total | Boys+Girls+Special=147.0 ≠ Recorded Total=142 | Flagged for review
7 | jilha parishad school | Students_Total | Boys+Girls+Special=16 ≠ Recorded Total=13 | Flagged for review
11 | jilha parishad school | Students_Total | Boys+Girls+Special=1954.0 ≠ Recorded Total=1946 | Flagged for review
12 | jilha parishad school | Students_Total | Boys+Girls+Special=926.0 ≠ Recorded Total=915 | Flagged for review
16 | jihad paris had school | Students_Total | Boys+Girls+Special=155.0 ≠ Recorded Total=152 | Flagged for review
22 | jilha parishad school | Students_Total | Boys+Girls+Special=39.0 ≠ Recorded Total=36 | Flagged for review
29 | vidya vikas mandir | Contact | Missing contact details | Flagged
31 | senapati bapat madhymik vidyalay | Students_Total | Boys+Girls+Special=309 ≠ Recorded Total=390 | Flagged for review
38 | JPS Chale | Students_Special/Total | Total=74 appeared in Special column | Corrected: Special=0, Total=74
34 | JPS Dakhane | Students_Total | Total=0 with Boys=4, Girls=6, Special=10 | Corrected Total=20

## 💧 Water Analysis
SECTION B — WATER ANALYSIS
Q1. Source of Drinking Water (Multiple Choice, N=39)
Response | Description | Count | Percentage (%)
A | No access to drinking water | 4 | 7.1
B | Students bring water from home | 10 | 17.9
C | Hand pump / bore well within school | 19 | 33.9
D | Filtered / RO / UV / packaged water | 17 | 30.4
E | Stored rainwater (roof harvesting) | 6 | 10.7
TOTAL |  | 56 | 100
Q2. Quantity of Drinking Water Available (Applicable schools)
Response | Description | Count | Percentage (%)
A | Less than 1.5 L/person/day | 18 | 62.1
B | More than 1.5 L/person/day throughout year | 11 | 37.9
TOTAL |  | 29 | 100
Q3. How Is Drinking Water Stored? (Multiple choice)
Response | Description | Count | Percentage (%)
A | No storage system | 15 | 30
B | Tank / Big clay water container | 26 | 52
C | Container/Pitcher with lid & ladle | 3 | 6
D | Other | 6 | 12
TOTAL |  | 50 | 100
Q4. Is Drinking Water Quality Tested?
Response | Description | Count | Percentage (%)
A | No testing | 9 | 27.3
B | Tested once a year | 18 | 54.5
C | Tested twice a year | 6 | 18.2
D | Not applicable | 0 | 0
TOTAL |  | 33 | 100
Q8. Functional Rainwater Harvesting Facility?
Response | Description | Count | Percentage (%)
A | No rainwater harvesting facility | 35 | 89.7
B | Yes, functional RWH facility | 4 | 10.3
TOTAL |  | 39 | 100

## 🚻 Sanitation Analysis
SECTION B — SANITATION ANALYSIS
Q9. Separate Toilet Units for Boys & Girls?
Response | Description | Count | Percentage (%)
A | No toilet units | 3 | 7.7
B | Same toilet for boys & girls | 1 | 2.6
C | Separate toilet units | 30 | 76.9
D | Co-ed: at least 1 unit each for boys & girls | 5 | 12.8
TOTAL |  | 39 | 100
TOILET & URINAL COUNTS (Mean per School)
Metric | Boys | Girls
Mean Working Toilets | 2 | 2.1
Median Working Toilets | 1 | 1
Mean Urinals | 3.8 | 2.5
Total Toilets (all schools) | 71 | 73
Q12. Toilets for Children with Special Needs (CSN)?
Response | Description | Count | Percentage (%)
A | Yes — CSN toilets available | 5 | 12.8
B | No CSN toilets | 5 | 12.8
C | Not applicable | 29 | 74.4
TOTAL |  | 39 | 100
Q14. Separate Toilets for Teachers & Staff?
Response | Description | Count | Percentage (%)
A | Yes — separate staff toilets | 16 | 41
B | No separate staff toilets | 23 | 59
TOTAL |  | 39 | 100
Q17. Separate Dustbins with Lid for Sanitary Waste?
Response | Description | Count | Percentage (%)
A | No separate dustbins with lid | 18 | 56.2
B | Yes — dustbins with lid for sanitary waste | 14 | 43.8
TOTAL |  | 32 | 100
Q18. Incinerator for Sanitary Waste Disposal?
Response | Description | Count | Percentage (%)
A | No incinerator | 29 | 74.4
B | Yes — functional incinerator | 10 | 25.6
TOTAL |  | 39 | 100

## 🧼 Hygiene Analysis
SECTION B — HYGIENE ANALYSIS
Q19. Handwashing Facility After Toilet Use?
Response | Description | Count | Percentage (%)
A | No handwashing facility | 7 | 17.9
B | Wash basin close to toilet units | 16 | 41
C | Wash basin inside/attached to every toilet unit | 16 | 41
TOTAL |  | 39 | 100
Q20. Soap Provided After Toilet Use?
Response | Description | Count | Percentage (%)
A | No soap available | 12 | 30.8
B | Soap available on demand only | 1 | 2.6
C | Soap always available at all handwashing points | 26 | 66.7
TOTAL |  | 39 | 100
Q21. Handwashing Facility Before Mid-Day Meal (MDM)?
Response | Description | Count | Percentage (%)
A | No handwashing facility | 3 | 7.7
B | Handwash with water from hand pump/bucket | 2 | 5.1
C | Handwash with taps (group practice possible) | 34 | 87.2
TOTAL |  | 39 | 100
Q22. Soap Provided Before Mid-Day Meal?
Response | Description | Count | Percentage (%)
A | No soap available | 7 | 17.9
B | Soap on demand only | 1 | 2.6
C | Soap always available before MDM | 31 | 79.5
TOTAL |  | 39 | 100
Q23. Do All Children Wash Hands with Soap Before MDM?
Response | Description | Count | Percentage (%)
A | No — children do NOT all wash hands | 2 | 5.1
B | Yes — all children wash hands with soap before MDM | 37 | 94.9
TOTAL |  | 39 | 100

## 🔧 O&M & Behavior
SECTION — OPERATION & MAINTENANCE + BEHAVIOR CHANGE
Q26. How Does the School Dispose Solid Waste?
Response | Description | Count | Percentage (%)
A | No specific measure | 5 | 11.9
B | Burned | 31 | 73.8
C | Pit / municipal bins | 4 | 9.5
D | Other | 2 | 4.8
TOTAL |  | 42 | 100
Q27. How Does the School Dispose Liquid Waste?
Response | Description | Count | Percentage (%)
A | No specific measure | 33 | 80.5
B | Drain | 0 | 0
C | Leach pits | 6 | 14.6
D | Septic tank/bio-toilets/sewer | 0 | 0
E | Other | 2 | 4.9
TOTAL |  | 41 | 100
Q30. Frequency of Toilet Cleaning?
Response | Description | Count | Percentage (%)
A | No specific schedule | 3 | 7.7
B | Once a week | 10 | 25.6
C | Twice a week | 11 | 28.2
D | Daily | 15 | 38.5
TOTAL |  | 39 | 100
Q31. Toilet Cleaning Material Used?
Response | Description | Count | Percentage (%)
A | Water only | 3 | 7.7
B | Soap/disinfectant at least once/month | 6 | 15.4
C | Soap/disinfectant at least twice/week | 19 | 48.7
D | Soap/disinfectant daily | 11 | 28.2
TOTAL |  | 39 | 100
Q32. Bal Sansad (Child Cabinet) Active in WASH?
Response | Description | Count | Percentage (%)
A | No Bal Sansad | 4 | 10.3
B | Yes — active Bal Sansad for WASH promotion | 35 | 89.7
TOTAL |  | 39 | 100
Q35. Menstrual Health Management Discussed with Girls?
Response | Description | Count | Percentage (%)
A | Not applicable (no girl students) | 16 | 41
B | Yes — discussed at least once every 3 months | 17 | 43.6
C | Yes — at least once every 2 months | 1 | 2.6
D | Yes — at least monthly | 5 | 12.8
TOTAL |  | 39 | 100

## 🏆 WASH Score Ranking
WASH COMPOSITE SCORE — SCHOOL RANKING (Higher = Better WASH conditions)
Rank | School Name | Address | Category | Water (max 25) | Sanitation (max 30) | Hygiene (max 25) | O&M (max 20) | WASH Score (/100) | Grade
1 | Swami Vivekanand Vidyalay | Asde | 5th–10th | 22 | 25 | 25 | 20 | 92 | Excellent
2 | Vidya Vikas Mandir | Aandgoan | 5th–10th | 23 | 18 | 25 | 12 | 78 | Good
3 | Mamasaheb Mohol Vidyalay | Kolavade | 5th–10th | 20 | 18 | 25 | 14 | 77 | Good
4 | Jihad Paris Had School | Bhare | 1st–7th | 13 | 19 | 25 | 16 | 73 | Good
5 | Jilha Parishad School | Shelkewadi, Gotavade | 1st–4th | 18 | 15 | 23 | 16 | 72 | Good
6 | Jilha Parishad School | Kule | 1st–4th | 15 | 13 | 25 | 18 | 71 | Good
7 | New English School | Kolvan | 5th–10th | 17 | 13 | 25 | 16 | 71 | Good
8 | Baburao Rairikar Vidyalay | Uravade | 5th–12th | 18 | 21 | 25 | 7 | 71 | Good
9 | Jilha Parishad School | Chale | 1st–7th | 15 | 15 | 23 | 18 | 71 | Good
10 | Jilha Parishad School | Katarkhadk | 1st–7th | 12 | 18 | 25 | 16 | 71 | Good
11 | Jilha Parishad School | Mahalunge | 1st–7th | 18 | 19 | 18 | 16 | 71 | Good
12 | Jilha Parishad School | Kondhavale | 1st–7th | 15 | 16 | 23 | 17 | 71 | Good
13 | Jilha Parishad School | Jambe | 1st–7th | 10 | 16 | 25 | 18 | 69 | Good
14 | Jilha Parishad School | Kalamshet | 1st–4th | 17 | 8 | 23 | 20 | 68 | Good
15 | Jilha Parishad School | Aandeshe | 1st–7th | 10 | 16 | 25 | 16 | 67 | Good
16 | Shree. Bhairvnath Vidyalay, Rihe | Rihe | 5th–10th | 15 | 13 | 23 | 16 | 67 | Good
17 | Jilha Parishad School | Bhugaon | 5th–10th | 15 | 13 | 21 | 18 | 67 | Good
18 | Jilha Parishad School | Nanegoan | 1st–4th | 10 | 13 | 23 | 20 | 66 | Good
19 | Senapati Bapat Madhymik Vidyalay | Maale | 5th–10th | 13 | 16 | 18 | 16 | 63 | Good
20 | Jilha Parishad School | Karmoli | 1st–4th | 13 | 11 | 23 | 16 | 63 | Good
21 | Jilha Parishad School | Shileshwar | 1st–4th | 10 | 10 | 25 | 16 | 61 | Good
22 | Jilha Parishad School | Savargaon | 1st–4th | 8 | 11 | 23 | 18 | 60 | Good
23 | Mamasaheb Mohol Vidyalay | Shere | 5th–10th | 16 | 21 | 13 | 10 | 60 | Good
24 | Jilha Parishad School | Gavdewadi, Lavale | 1st–4th | 2 | 17 | 25 | 16 | 60 | Good
25 | Jilha Parishad School | Hinjewadi | 1st–7th | 23 | 7 | 9 | 20 | 59 | Fair
26 | Jilha Parishad School | Khechare | 8th–10th | 13 | 16 | 13 | 16 | 58 | Fair
27 | Mamasaheb Mohol Vidyalay | Kule | 5th–10th | 5 | 10 | 25 | 16 | 56 | Fair
28 | Jilha Parishad School | Khubawali | 1st–4th | 5 | 7 | 21 | 20 | 53 | Fair
29 | Jilha Parishad School | Paud | 1st–4th | 5 | 7 | 23 | 16 | 51 | Fair
30 | Jilha Parishad School | Walen | 1st–7th | 7 | 5 | 25 | 14 | 51 | Fair
31 | Mamasaheb Mohol Vidyalay | Mutha | 5th–10th | 12 | 10 | 13 | 14 | 49 | Fair
32 | Jilha Parishad School | Mugavade | 1st–4th | 5 | 11 | 14 | 19 | 49 | Fair
33 | Mamasaheb Mohol Vidyalay | Khamboli | 5th–10th | 15 | 13 | 4 | 16 | 48 | Fair
34 | Jilha Parishad School | Rasalwadi | 1st–4th | 8 | 10 | 14 | 14 | 46 | Fair
35 | Jilha Parishad School | Bhalgudi | 1st–4th | 7 | 14 | 12 | 11 | 44 | Fair
36 | Jilha Parishad School | Dakhane | 1st–4th | 2 | 8 | 15 | 18 | 43 | Fair
37 | Jilha Parishad School | Darwali | 1st–4th | 0 | 13 | 13 | 16 | 42 | Fair
38 | Jilha Parishad School | Hadshi | 1st–4th | 17 | 0 | 14 | 11 | 42 | Fair
39 | Tukai Madhymik Vidyalay | Nere | 5th–10th | 2 | 13 | 4 | 14 | 33 | Poor
| AVERAGE |  |  | 12.1 | 13.3 | 19.8 | 15.9 | 61.1

## 📈 Descriptive Statistics
DESCRIPTIVE STATISTICS — NUMERIC VARIABLES
Variable | N | Mean | Std Dev | Min | Q1 (25%) | Median | Q3 (75%) | Max
Students (Boys) | 39 | 86.3 | 177.2 | 1 | 10 | 27 | 81 | 1023
Students (Girls) | 39 | 83.4 | 160.5 | 3 | 13 | 28 | 82.5 | 923
Students (Special) | 38 | 1.2 | 2.8 | 0 | 0 | 0 | 0 | 11
Students (Total) | 39 | 177.1 | 339.6 | 4 | 26 | 62 | 169 | 1946
Staff (Female) | 39 | 3.4 | 6.2 | 0 | 1 | 2 | 3 | 37
Staff (Male) | 39 | 2.7 | 2.8 | 0 | 0.5 | 2 | 4 | 11
Toilets (Boys) | 35 | 2 | 1.9 | 1 | 1 | 1 | 2 | 8
Toilets (Girls) | 35 | 2.1 | 2.1 | 0 | 1 | 1 | 2 | 9
Urinals (Boys) | 36 | 3.8 | 3.1 | 0 | 1.8 | 3 | 5.2 | 13
Urinals (Girls) | 36 | 2.5 | 2.8 | 0 | 0.8 | 2 | 3 | 10
Score — Water (/25) | 39 | 12.1 | 6.1 | 0 | 7.5 | 13 | 16.5 | 23
Score — Sanitation (/30) | 39 | 13.3 | 4.9 | 0 | 10 | 13 | 16 | 25
Score — Hygiene (/25) | 39 | 19.8 | 6.2 | 4 | 14 | 23 | 25 | 25
Score — O&M (/20) | 39 | 15.9 | 2.9 | 7 | 15 | 16 | 18 | 20
WASH Score (/100) | 39 | 61.1 | 12.4 | 33 | 51 | 63 | 71 | 92

## 📉 Charts & Visualizations
WASH IN SCHOOLS — KEY CHARTS & VISUALIZATIONS | Grade | Count
| Excellent | 1
| Good | 23
| Fair | 14
| Poor | 1
| Water Source | Schools
| No Access | 4
| Bring from Home | 10
| Borewell/Handpump | 19
| Filtered/RO/UV | 17
| Rainwater | 6
| Freq | Schools
| No Schedule | 3
| Weekly | 10
| Twice/Week | 11
| Daily | 15
| Domain | Mean Score | Max Score
| Water | 12.1 | 25
| Sanitation | 13.3 | 30
| Hygiene | 19.8 | 25
| O&M | 15.9 | 20

## 📋 School Report Cards
INDIVIDUAL SCHOOL WASH REPORT CARDS
Swami Vivekanand Vidyalay ¦ Asde ¦ WASH Score: 92/100 ¦ Grade: Excellent
Domain | Score | Max | Percentage
Water | 22 | 25 | 88%
Sanitation | 25 | 30 | 83%
Hygiene | 25 | 25 | 100%
O&M | 20 | 20 | 100%
Vidya Vikas Mandir ¦ Aandgoan ¦ WASH Score: 78/100 ¦ Grade: Good
Domain | Score | Max | Percentage
Water | 23 | 25 | 92%
Sanitation | 18 | 30 | 60%
Hygiene | 25 | 25 | 100%
O&M | 12 | 20 | 60%
Mamasaheb Mohol Vidyalay ¦ Kolavade ¦ WASH Score: 77/100 ¦ Grade: Good
Domain | Score | Max | Percentage
Water | 20 | 25 | 80%
Sanitation | 18 | 30 | 60%
Hygiene | 25 | 25 | 100%
O&M | 14 | 20 | 70%
Jihad Paris Had School ¦ Bhare ¦ WASH Score: 73/100 ¦ Grade: Good
Domain | Score | Max | Percentage
Water | 13 | 25 | 52%
Sanitation | 19 | 30 | 63%
Hygiene | 25 | 25 | 100%
O&M | 16 | 20 | 80%
Jilha Parishad School ¦ Shelkewadi, Gotavade ¦ WASH Score: 72/100 ¦ Grade: Good
Domain | Score | Max | Percentage
Water | 18 | 25 | 72%
Sanitation | 15 | 30 | 50%
Hygiene | 23 | 25 | 92%
O&M | 16 | 20 | 80%
Jilha Parishad School ¦ Kule ¦ WASH Score: 71/100 ¦ Grade: Good
Domain | Score | Max | Percentage
Water | 15 | 25 | 60%
Sanitation | 13 | 30 | 43%
Hygiene | 25 | 25 | 100%
O&M | 18 | 20 | 90%
New English School ¦ Kolvan ¦ WASH Score: 71/100 ¦ Grade: Good
Domain | Score | Max | Percentage
Water | 17 | 25 | 68%
Sanitation | 13 | 30 | 43%
Hygiene | 25 | 25 | 100%
O&M | 16 | 20 | 80%
Baburao Rairikar Vidyalay ¦ Uravade ¦ WASH Score: 71/100 ¦ Grade: Good
Domain | Score | Max | Percentage
Water | 18 | 25 | 72%
Sanitation | 21 | 30 | 70%
Hygiene | 25 | 25 | 100%
O&M | 7 | 20 | 35%
Jilha Parishad School ¦ Chale ¦ WASH Score: 71/100 ¦ Grade: Good
Domain | Score | Max | Percentage
Water | 15 | 25 | 60%
Sanitation | 15 | 30 | 50%
Hygiene | 23 | 25 | 92%
O&M | 18 | 20 | 90%
Jilha Parishad School ¦ Katarkhadk ¦ WASH Score: 71/100 ¦ Grade: Good
Domain | Score | Max | Percentage
Water | 12 | 25 | 48%
Sanitation | 18 | 30 | 60%
Hygiene | 25 | 25 | 100%
O&M | 16 | 20 | 80%
Jilha Parishad School ¦ Mahalunge ¦ WASH Score: 71/100 ¦ Grade: Good
Domain | Score | Max | Percentage
Water | 18 | 25 | 72%
Sanitation | 19 | 30 | 63%
Hygiene | 18 | 25 | 72%
O&M | 16 | 20 | 80%
Jilha Parishad School ¦ Kondhavale ¦ WASH Score: 71/100 ¦ Grade: Good
Domain | Score | Max | Percentage
Water | 15 | 25 | 60%
Sanitation | 16 | 30 | 53%
Hygiene | 23 | 25 | 92%
O&M | 17 | 20 | 85%
Jilha Parishad School ¦ Jambe ¦ WASH Score: 69/100 ¦ Grade: Good
Domain | Score | Max | Percentage
Water | 10 | 25 | 40%
Sanitation | 16 | 30 | 53%
Hygiene | 25 | 25 | 100%
O&M | 18 | 20 | 90%
Jilha Parishad School ¦ Kalamshet ¦ WASH Score: 68/100 ¦ Grade: Good
Domain | Score | Max | Percentage
Water | 17 | 25 | 68%
Sanitation | 8 | 30 | 27%
Hygiene | 23 | 25 | 92%
O&M | 20 | 20 | 100%
Jilha Parishad School ¦ Aandeshe ¦ WASH Score: 67/100 ¦ Grade: Good
Domain | Score | Max | Percentage
Water | 10 | 25 | 40%
Sanitation | 16 | 30 | 53%
Hygiene | 25 | 25 | 100%
O&M | 16 | 20 | 80%
Shree. Bhairvnath Vidyalay, Rihe ¦ Rihe ¦ WASH Score: 67/100 ¦ Grade: Good
Domain | Score | Max | Percentage
Water | 15 | 25 | 60%
Sanitation | 13 | 30 | 43%
Hygiene | 23 | 25 | 92%
O&M | 16 | 20 | 80%
Jilha Parishad School ¦ Bhugaon ¦ WASH Score: 67/100 ¦ Grade: Good
Domain | Score | Max | Percentage
Water | 15 | 25 | 60%
Sanitation | 13 | 30 | 43%
Hygiene | 21 | 25 | 84%
O&M | 18 | 20 | 90%
Jilha Parishad School ¦ Nanegoan ¦ WASH Score: 66/100 ¦ Grade: Good
Domain | Score | Max | Percentage
Water | 10 | 25 | 40%
Sanitation | 13 | 30 | 43%
Hygiene | 23 | 25 | 92%
O&M | 20 | 20 | 100%
Senapati Bapat Madhymik Vidyalay ¦ Maale ¦ WASH Score: 63/100 ¦ Grade: Good
Domain | Score | Max | Percentage
Water | 13 | 25 | 52%
Sanitation | 16 | 30 | 53%
Hygiene | 18 | 25 | 72%
O&M | 16 | 20 | 80%
Jilha Parishad School ¦ Karmoli ¦ WASH Score: 63/100 ¦ Grade: Good
Domain | Score | Max | Percentage
Water | 13 | 25 | 52%
Sanitation | 11 | 30 | 37%
Hygiene | 23 | 25 | 92%
O&M | 16 | 20 | 80%
Jilha Parishad School ¦ Shileshwar ¦ WASH Score: 61/100 ¦ Grade: Good
Domain | Score | Max | Percentage
Water | 10 | 25 | 40%
Sanitation | 10 | 30 | 33%
Hygiene | 25 | 25 | 100%
O&M | 16 | 20 | 80%
Jilha Parishad School ¦ Savargaon ¦ WASH Score: 60/100 ¦ Grade: Good
Domain | Score | Max | Percentage
Water | 8 | 25 | 32%
Sanitation | 11 | 30 | 37%
Hygiene | 23 | 25 | 92%
O&M | 18 | 20 | 90%
Mamasaheb Mohol Vidyalay ¦ Shere ¦ WASH Score: 60/100 ¦ Grade: Good
Domain | Score | Max | Percentage
Water | 16 | 25 | 64%
Sanitation | 21 | 30 | 70%
Hygiene | 13 | 25 | 52%
O&M | 10 | 20 | 50%
Jilha Parishad School ¦ Gavdewadi, Lavale ¦ WASH Score: 60/100 ¦ Grade: Good
Domain | Score | Max | Percentage
Water | 2 | 25 | 8%
Sanitation | 17 | 30 | 57%
Hygiene | 25 | 25 | 100%
O&M | 16 | 20 | 80%
Jilha Parishad School ¦ Hinjewadi ¦ WASH Score: 59/100 ¦ Grade: Fair
Domain | Score | Max | Percentage
Water | 23 | 25 | 92%
Sanitation | 7 | 30 | 23%
Hygiene | 9 | 25 | 36%
O&M | 20 | 20 | 100%
Jilha Parishad School ¦ Khechare ¦ WASH Score: 58/100 ¦ Grade: Fair
Domain | Score | Max | Percentage
Water | 13 | 25 | 52%
Sanitation | 16 | 30 | 53%
Hygiene | 13 | 25 | 52%
O&M | 16 | 20 | 80%
Mamasaheb Mohol Vidyalay ¦ Kule ¦ WASH Score: 56/100 ¦ Grade: Fair
Domain | Score | Max | Percentage
Water | 5 | 25 | 20%
Sanitation | 10 | 30 | 33%
Hygiene | 25 | 25 | 100%
O&M | 16 | 20 | 80%
Jilha Parishad School ¦ Khubawali ¦ WASH Score: 53/100 ¦ Grade: Fair
Domain | Score | Max | Percentage
Water | 5 | 25 | 20%
Sanitation | 7 | 30 | 23%
Hygiene | 21 | 25 | 84%
O&M | 20 | 20 | 100%
Jilha Parishad School ¦ Paud ¦ WASH Score: 51/100 ¦ Grade: Fair
Domain | Score | Max | Percentage
Water | 5 | 25 | 20%
Sanitation | 7 | 30 | 23%
Hygiene | 23 | 25 | 92%
O&M | 16 | 20 | 80%
Jilha Parishad School ¦ Walen ¦ WASH Score: 51/100 ¦ Grade: Fair
Domain | Score | Max | Percentage
Water | 7 | 25 | 28%
Sanitation | 5 | 30 | 17%
Hygiene | 25 | 25 | 100%
O&M | 14 | 20 | 70%
Mamasaheb Mohol Vidyalay ¦ Mutha ¦ WASH Score: 49/100 ¦ Grade: Fair
Domain | Score | Max | Percentage
Water | 12 | 25 | 48%
Sanitation | 10 | 30 | 33%
Hygiene | 13 | 25 | 52%
O&M | 14 | 20 | 70%
Jilha Parishad School ¦ Mugavade ¦ WASH Score: 49/100 ¦ Grade: Fair
Domain | Score | Max | Percentage
Water | 5 | 25 | 20%
Sanitation | 11 | 30 | 37%
Hygiene | 14 | 25 | 56%
O&M | 19 | 20 | 95%
Mamasaheb Mohol Vidyalay ¦ Khamboli ¦ WASH Score: 48/100 ¦ Grade: Fair
Domain | Score | Max | Percentage
Water | 15 | 25 | 60%
Sanitation | 13 | 30 | 43%
Hygiene | 4 | 25 | 16%
O&M | 16 | 20 | 80%
Jilha Parishad School ¦ Rasalwadi ¦ WASH Score: 46/100 ¦ Grade: Fair
Domain | Score | Max | Percentage
Water | 8 | 25 | 32%
Sanitation | 10 | 30 | 33%
Hygiene | 14 | 25 | 56%
O&M | 14 | 20 | 70%
Jilha Parishad School ¦ Bhalgudi ¦ WASH Score: 44/100 ¦ Grade: Fair
Domain | Score | Max | Percentage
Water | 7 | 25 | 28%
Sanitation | 14 | 30 | 47%
Hygiene | 12 | 25 | 48%
O&M | 11 | 20 | 55%
Jilha Parishad School ¦ Dakhane ¦ WASH Score: 43/100 ¦ Grade: Fair
Domain | Score | Max | Percentage
Water | 2 | 25 | 8%
Sanitation | 8 | 30 | 27%
Hygiene | 15 | 25 | 60%
O&M | 18 | 20 | 90%
Jilha Parishad School ¦ Darwali ¦ WASH Score: 42/100 ¦ Grade: Fair
Domain | Score | Max | Percentage
Water | 0 | 25 | 0%
Sanitation | 13 | 30 | 43%
Hygiene | 13 | 25 | 52%
O&M | 16 | 20 | 80%
Jilha Parishad School ¦ Hadshi ¦ WASH Score: 42/100 ¦ Grade: Fair
Domain | Score | Max | Percentage
Water | 17 | 25 | 68%
Sanitation | 0 | 30 | 0%
Hygiene | 14 | 25 | 56%
O&M | 11 | 20 | 55%
Tukai Madhymik Vidyalay ¦ Nere ¦ WASH Score: 33/100 ¦ Grade: Poor
Domain | Score | Max | Percentage
Water | 2 | 25 | 8%
Sanitation | 13 | 30 | 43%
Hygiene | 4 | 25 | 16%
O&M | 14 | 20 | 70%